BLIND CAP

Task Force Tips model # A01NR blind cap shall be provided. The cap shall be constructed of hardcoat anodized aluminum alloy for corrosion protection. The cap shall have 4-1/2" female NH thread and cable lanyard with eye hole. The unit shall be covered by a five-year warranty.