SUCTION HOSE BARREL STRAINER

Task Force Tips Model # A02HNX suction hose barrel strainer shall be provided. The strainer shall be impact resistant black polymer for durability and corrosion resistance. Strainer shall have wavy surface to resist debris from sucking flat against strainer holes. A large loop for securing a tie-off rope shall be provided. The coupling shall rotate easily on a polymer bearing ring. All aluminum parts are hardcoat anodized for maximum corrosion resistance.

Suction strainer shall have 6" NH female swivel long handle coupling.