CRANK GEAR DRIVE KIT

Task Force Tips model # A1633-KIT gear drive upgrade kit shall be provided. The kit shall include parallel gear drive assembly and related parts to allow the upgrade from a manual side hand wheel control to a crank style control on Task Force Tips ball intake, jumbo ball intake, LDH inline valve, or monitor valve. The unit shall have a valve position indicator.