SPANNER WRENCH

A Task Force Tips model #A3090 spanner wrench shall be provided. The lightweight aluminum wrench shall fit virtually any 1" through 6" Storz, rocker lug or long handle fire hose couplings and is designed to fit wrench bracket Task Force Tips model # A3815. The wrench shall have an adjustable tab for releasing of Storz coupling locks. The unit shall be covered by a five-year warranty.