SPANNER WRENCH BRACKET

A Task Force Tips model #A3815 spanner wrench bracket shall be provided. The bracket shall be designed to hold four (4) lightweight aluminum wrenches Task Force Tips model # A3090 that fit 1" through 6" Storz, rocker lug and long handle fire hose couplings. The unit shall be covered by a five-year warranty.

Location of mounting bracket shall be: