HYDRANT WRENCH

A Task Force Tips model #A3835 hydrant wrench shall be provided. The manganese bronze single-headed wrench shall be adjustable for square or pentagon hydrant valve stem, include an integral spanner wrench for pin and rocker lug couplings and have a rugged high visibility grip handle. The unit shall be covered by a five-year warranty.