STORZ ADAPTER

Task Force Tips model #AA3ST-NJ adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy and include a polymer bearing ring for prevention of galvanic corrosion. The adapter shall meet a 900 PSI hydrostatic test and comply with the current NFPA 1965 Standard. The adapter shall be configured with a 5" swivel Storz coupling and a 2-1/2" female NH swivel rocker lug coupling. The unit shall be covered by a five-year warranty.