FLANGE ADAPTER

Task Force Tips model #AA9FP-FX flange adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy. The adapter shall meet a 900 PSI hydrostatic test. The adapter shall be configured with 4” ANSI 150 flange holes and 6" ANSI 150 flange holes. The unit shall be covered by a five-year warranty.