TRUCK INLET ADAPTER

Task Force Tips model #AA9NX-TX truck inlet adapter shall be provided. For corrosion resistance, the adapter shall be constructed of hardcoat anodized aluminum alloy. The adapter shall meet a 900 PSI hydrostatic test. The adapter shall be configured with a 6" male NH rigid thread and a 6" female NPT rigid thread. The unit shall be covered by a five-year warranty.