IN-LINE VALVE

Task Force Tips model #AN6X3P32 manually operated lightweight aluminum ball valve shall be provided. The valve shall be controlled with an NFPA compliant slow-close crank handle gear operator. A position indicator shall be provided to allow for quick visualization of the status of the valve in the open, closed or partial positions. The unit shall have a large carrying handle. For maximum corrosion protection the aluminum casting shall be hardcoat anodized, with a powder coat internal and external finish and the valve ball shall be stainless steel. The unit shall be equipped with an adjustable pressure relief valve. A bleeder valve to exhaust excess air or water from the valve and hoseline shall be installed.

The connections shall be: 6" NH female long handle non-full time swivel inlet and 4” NH female rocker lug outlet and include polymer bearing strips for prevention of galvanic corrosion. The unit shall have a unique serial number and be covered by a five-year warranty.