LOW EXPANSION FOAM ATTACHMENT

Task Force Tips model # FJ-LX-M FoamJet air aspirating tube attachment for low expansion foam production shall be provided. The device shall be designed for use with TFT Master Stream 1000 and Master Foam series nozzles and constructed from UV stabilized polyethylene, stainless steel and aluminum. The attachment shall be able to produce a quality foam blanket using most commonly used concentrates and be able to be quickly removed to restore the nozzle to its original configuration. The unit shall be covered by a five-year warranty.