SMOOTH BORE CAFS TIP

Task Force Tips model # JSS13-CAFS smooth bore nozzle tip shall be provided. The nozzle shall be constructed from hardcoat anodized aluminum alloy and have a long smooth inside taper for use with water or compressed air foam. The nozzle tip shall be configured with a 2-1/2" female NH full-time swivel inlet and 1-3/8" bore. Bore size shall be laser engraved on the tip. The unit shall be covered by a five-year warranty.