FIXED GALLONAGE NOZZLE

Task Force Tips, Max-Flow model # MDJ14A fixed gallonage nozzle with shutoff shall be provided. The nozzle design shall allow for straight stream through 120 degree dense wide fog patterns and be able to be flushed without shutting down. For corrosion resistance and durability the nozzle shall be constructed from hardcoat anodized aluminum alloy, have a six (6) position detent flow control stainless steel slide valve, a protective rubber bumper with fog teeth, stainless steel inlet debris screen, laser engraved serial number, reflective labeling and five year warranty. An integral pistol grip handle shall be positioned directly below the valve handle.

The nozzle shall be suitable for foam solution application and designed to accept the Task Force Tips FJ-LX-MD low expansion air aspirating attachment. The nozzle shall have a 2-1/2" female NH inlet, which allows the nozzle to swivel when tightened and a flow range of 500 GPM at 100 PSI.