ATTACK MONITOR STORAGE BRACKET

Task Force Tips model # XX-B storage bracket shall be installed. The bracket shall be constructed from stainless steel and hardcoat aluminum and be designed for horizontal or vertical installation. The bracket shall include an adjustable strap assembly for elimination of nozzle movement. The bracket is designed for storage of the Blitzfire and Blitzfire OSC series portable monitors. The unit shall be covered by a five-year warranty.

Location of storage bracket shall be: