REMOTE MONITOR POSITION DISPLAY

Task Force Tips model # Y4E-DISP monitor position display for Monsoon, Hurricane, Typhoon, and Tornado series remote control monitors shall be installed. The display shall have two sets of LED's to indicate stream discharge position of the monitor. One set shall indicate horizontal rotation position and one set shall indicate vertical elevation. Buttons for programmable park and oscillate features and high/low speed selection shall be included. A preconnected 10', four-conductor cable for power and communications shall be provided.  The display shall be designed for surface mounting. The control requires 12 or 24 volt DC power and connection to Task Force Tips remote control monitor. The unit shall be covered by a five-year warranty.

Location of Monitor Display shall be: