
REMOTE MONITOR PENDANT OPERATOR STATION RECEPTACLE
Task Force Tips model # YE-RECEP-4 receptacle for pendant tethered operator station  for Monsoon, Hurricane, Typhoon, and Tornado series remote control monitors shall be installed. A 30 foot long, four conductor power and communications cable connected to a panel mount receptacle with protective cap shall be supplied. The receptacle is designed for 12  or 24 volt DC power. The unit shall be covered by a five-year warranty.
Location of receptacle plug shall be:

